## Register
Description | Manufacturer™ | Model | Serial Number | Usual Location | Calibration Cycle “Years” | Last Service/Calibration [Date Calibrated]
Spectroradiometer Optics Head | Optronics Laboratories Ltd | 742 | 1005 | Photometric bench Room | 1 | 2007-01-19
Lamp Power Supply (40A, 25V) and 0.01 ohm shunt | Kepco and “TMK” shunt | JQE 0-25V 0-40A |  | Photometric bench Room | 4 | 2014-04-08
1 kW Std Resistor. | Vishay | VHA-412-1k | 51390 | Cryogenic Radiometer Lab
Motorized Filter Flip Mount for Ø25mm Optics | Thorlabs | MFF101/M | 37870963 | Few Photon Lab
Optical Beam Shutter with 10' Long Cable, Ø1/2" Aperture, M4 Taps | Thorlabs | SH05/M | 10-291 | Few Photon Lab | 5 | 2016-05-19

## Connections
Manufacturer™ | Model Number | Serial Number | Backend | Address | Properties [as “key=value;” pairs]
Kepco and “TMK” shunt | JQE 0-25V 0-40A |  | MSL | COM1
Thorlabs | SH05/M | 10-291 | MSL | SOCKET::1.2.3.4::1234